The program LISE: a simulation of fragment separators

O.Tarasov 1,2, D.Bazin 1, M.Lewitowicz 3, O.Sorlin 4

1 NSCL-Cyclotron Laboratory, Michigan State University, East Lansing, MI 48824-1321, USA

2 Flerov Laboratory of Nuclear Reactions, JINR, 141980, Moscow region, Russia

3 Grand Accèlèrateur National d'Ions Lourds, BP 55027, 14076 Caen Cedex 5, France

4 Institut de Physique Nuclèaire, CNRS-IN2P3, BP 1, 91406 Orsay Cedex, France

The program LISE [1] called after the spectrometer of the same name [2] has been developed to calculate the transmission and yields of fragments produced and collected in a fragment separator. Nowadays, projectile fragmentation is being used worldwide in many laboratories to produce Radioactive Nuclear Beams. Being able to predict as well as identify on­line the content of RNBs is therefore of prime importance. This has guided the definitions of the main purposes and characteristics of the program:

Figure 1: Plot of transmitted fragments after magnetic rigidity filtering. The axes are the energy loss for the ordinate and the time-of-flight for the abscissa. This plot and subsequent identification plots are produced by a Monte-Carlo generator to better mimic the experimental spectra observed on-line.

- Predict fragment separator settings to obtain a specific RNB;

- Predict the intensity and purity of the chosen RNB;

- Simulate identification plots to be compared on­line (see Fig.1);

- Provide a highly user­friendly environment;

- Possibility to configure the program for different fragment separators.

A statistical model [3,4] is used to determine the momentum and angular phase space distributions of the projectile fragments. The average fragment velocity can be set to a constant value or can be calculated from the expressions given in the code. The cross sections are calculated according to a global parameterization EPAX [5] with no energy dependence. Four different in-built parameterizations [5,6] of cross sections based on the EPAX model are available. Cross-sections calculation on Abration-Ablation model has been incorporated recently in the program. It is also possible to directly enter the cross section for a given reaction, provided it was previously measured or calculated by more sophisticated codes. Once a cross section is manually entered in the program it is automatically saved with the results of calculations.

Figure 2: Physical calculator window showing various calculations performed for the nucleus 24O. The energy can be entered not only by the different parameters such as magnetic rigidity, velocity or momentum (radio buttons on the left), but also by specifying either an energy after a given material (top right) or the total range (bottom right).

The determination of the equilibrium charge state distribution of an ion beam after passing through material can be calculated according to three different parameterizations [7-9]. The calculation of charge state distributions and their corresponding transmissions can be enabled or disabled by selecting the Charge States option. In case it is enabled, the charge states of the fragment of interest have to be specified after the target and the wedge.

The calculation of energy loss and energy straggling is crucial for deducing magnetic rigidities, transmission of fragments and their ranges in detectors. Two energy loss calculation methods are available [10,11]. Energy losses are calculated for atomic numbers (1 ( Z ( 130) and energies from 10 keV in materials from Hydrogen up to Uranium. The calculation of energy loss in gas and composite materials is also included.

In-built Energy loss, Time-of-Flight, Position, Angular, Charge, Cross-Section distribution plots and dE-E, dE-TOF, Z-A/Q and dE-X two-dimensional plots allow to visualize the results of the program calculations. An application of transport integral [12] lies in the basis of fast calculations of the program for the estimation of temporary evolution of distributions of phase space.

Recently the program has undergone a number of serious changes and has been adapted to the environment of "Windows":

- Being adapted to the 32-bit operating system «Windows» the program has received an improved interface with which the user gets all opportunities of the given operating system (work in several windows, drivers of a seal etc.);

- There appeared an opportunity to choose the parameterization of fragmentation cross-sections and model the charge distributions of ions;

- In-built database of nuclides has been added. It is possible to see a transmission of a given isotope, its characteristics and energy after second dipole clicking on an isotope of interest in the table of nuclides by the right button of the mouse;

- The optical parameters of the spectrometer are entered as transport matrices that are more convenient. Initial angular, spatial and energy emittances of beam are used;

- The new dipole after the Wien filter of velocities has been added;

- There appeared an opportunity to choose a degrader profile (achromatic, monochromatic, homogeneous, user-defined) in the intermediate dispersive focal plane.

In addition, several general purpose tools such as

- physical parameters calculator (see Fig.2),

- scattering calculator,

- database of nuclei properties,

- evaporation calculator,

- «BI» - the automatized search of two-dimensional peaks in spectra and definition of their characteristics,

- relativistic two body kinematics calculations

make it also attractive in experiments where radioactive beams are not involved. Most of the options available in the program are well documented in an on­line help. The constant improvements of the code based on the user's remarks has brought its high flexibility and made it well adaptive to almost any nuclear physics experiment using magnetic and/or electrostatic separation devices. With the advent of the World Wide Web, it has become very easy to maintain and update the program, and it can now be freely downloaded and installed (see Table).

Table.

| City, County | Web-site | Download |
| --- | --- | --- |
| East-Lansing, USA | http://www.nscl.msu.edu/~tarasov/lise | ftp://ftp.nscl.msu.edu/pub/lise/ |
| Dubna, Russia | http://dnr080.jinr.ru/LISE | ftp://dnr080.jinr.ru/lise/ |
| Caen, France | http://www.ganil.fr/lise/proglise.html | http://www.ganil.fr/lise/proglise.html |

References

[1]	D.Bazin et al., Preprint NSCL MSU, MSUCL-1187; Preprint JINR, E13-2001-18, Dubna, 2001; submitted to NIM B.

[2]	R.Anne et al., NIM A257 (1987) 215.

[3]	A.S.Goldhaber, Phys.Lett.B53 (1974) 306.

[4]	R.Dayras et al., Nucl.Phys. A460 (1986) 299.

[5]	K.Summerer; et al., Phys.Rev. C42 (1990) 2546; Phys.Rev. C61 (2000) 034607.

[6]	O.Tarasov et al., Phys.Lett. B409 (1997) 64; Nucl.Phys. A.629 (1998) 605.

[7]	J.Winger et al., NIM B70 (1992) 380.

[8]	A.Leon et al., AD&NDT, 69 (1998) 217.

[9]	K.Shima et al., NIM, 200 (1982) 605.

[10]	F.Hubert et al , AD&NDT, 46 (1990) 1.

[11]	J.F.Ziegler et al., ''The Stopping and Range of Ions in Solids'', Pergamon Press, New York, 1985.

[12]	D.Bazin and B.Sherrill, Phys.Rev. E50 (1994) 4017.